| PROTOCOL APPROVALS: |  |  |  |  |
| --- | --- | --- | --- | --- |
| ORIGINATOR: | DATE: | SOFTWARE QUALITY ENGINEERING: | DATE: |
| TECHNICAL APPROVER: | DATE: | QUALITY ENGINEERING: | DATE: |
| FUNCTIONAL AREA APPROVER: | DATE: | MANUFACTURING ENGINEERING: | DATE: |

| EXECUTION APPROVALS: |  |  |  |
| --- | --- | --- | --- |
| ORIGINATOR: | DATE: | TECHNICAL SERVICE QUALITY: | DATE: |

# PURPOSE

  - The purpose of this protocol is to test the accuracy and integrity of the client-side input validation embedded in electronic service test procedures (eSTP).

# SCOPE

  - The scope of this protocol includes electronic service test procedures for surgical products.

  - The eSTP is to be filled out by field service engineers (FSE) in Adobe Acrobat Standard 10 (provided).

  - eSTPs are maintained in PDF format.

# REFERENCES

  - This test protocol references the eSTP user requirement specification (URS) 10100.

  - SOP-#####, Version 9.0 Computerized system validation

  - SOP-#####, Good documentation practices

- EQUIPMENT AND MATERIALS

| Description of Test Equipment | Expected Value | Actual Value / Site Value |
| --- | --- | --- |
| Adobe Acrobat Standard 10 |  | PC # ______________ |

# SAMPLES

  - N/A

# SIGNATURE LOG

  - The personnel listed in the following table will be responsible for the execution of the qualification activities. The signature log correlates the individual’s initials to their written signature, and is deemed an acceptable method for the use of initials throughout this protocol. Additional personnel involved in the execution shall record their name, position, signature, initials, and responsibilities in the blank rows of the table.

| Name, Department | Signature | Initials | Date | Qualification Activities |
| --- | --- | --- | --- | --- |

# TEST PROCEDURE

  - There are no safety considerations applicable

  - In preparation for testing, the business owners have provided data and has been loaded prior to initiation of testing

  - Each step will describe the test being performed and the URS reference number.

  - Test Procedure:

## Layout

| URS Step | Test Element | Expected Results | Observed (Actual) Results | Pass/Fail | Deviation # | Attach # |
| --- | --- | --- | --- | --- | --- | --- |
| 4.1.1 | - Open the eSTP in Adobe Acrobat standard. Attach a copy of the entire eSTP. - Open the STP in Microsoft Word. Attach a copy of the entire STP. - Compare every page of the eSTP and STP. | - The PDF opens to the default page. - The Word document opens to the default page. - All content in the STP is present and formatted the same in the eSTP. No content is obstructed. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.1.2 | - Open the eSTP in Adobe Acrobat standard. - Check the eSTP. | - The PDF opens to the default page. - All objects are null. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |

## Objects

| URS Step | Test Element | Expected Results | Observed (Actual) Results | Pass/Fail | Deviation # | Attach # |
| --- | --- | --- | --- | --- | --- | --- |
| 4.2.1 | - Enable the fillable fields highlight. Attach a copy of the eSTP. - In the Service Request Number field, enter an alphanumeric value. | - Only the service request number field is highlighted. - No change. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.2.2 | - In the Service Request Number field, enter an alphanumeric value. - Press the Verify button. Attach a screen shot. | - No change. - The Service Request Number field is not editable. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.2.3 | - For each check box, make a selection. Attach screenshots of every input. - For each text field, enter a string longer than the width of the field. Attach screenshots of every text field. - For each combobox, make a selection. Attach screenshots of every combo box input. | - The selected check box is visible. - The text is not truncated. - The selected item text is not truncated. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.2.4 | - Select each ungrouped check box. Attach screenshots of every input. - Deselect each ungrouped check box. Attach screenshots of every input. - For each text field, enter a valid input and change the focus. Attach screenshots of every text field. - For each text field, enter a null value and change the focus. Attach screenshots of every text field. - For each combobox, select a valid item. Attach screenshots of every combobox. - For each combobox, remove any selection. Attach screenshots of every combobox. - For each group of fields, make every valid entry. Attach screenshots of every group of fields. - For each group of fields, remove the valid entry from every possible valid entry. Attach screenshots of every group of fields. | - After the selection, each check box is not outlined in red. - After the deselection, each check box is outlined in red. - After the focus changes, each text field is not outlined in red. - After the focus changes, each text field is outlined in red. - After the selection, each combobox is not outlined in red. - After the selection, each combobox is outlined in red. - After the entry, every field in the group is not outlined in red. - After the removal of each entry, every field in the group is outlined in red. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.2.5 | - For each check box that influences whether another field is required or not, select it. Attach a screenshot. - For each text field that influences whether another field is required or not, enter a valid input. Attach a screenshot. | - The fields dependent on the check box status are not read only. - The fields dependent on the text field status are not read only. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.2.6 | - For each field, remove any selection or input. - For each text field with validation conditions, enter an invalid value. - For each group of fields, remove any selection. Attach a screenshot. | - The list of discrepancies requests each field be completed. - The list of discrepancies states each applicable text field is out of range. - The list of discrepancies states a selection is required. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |

## Text Controls

| URS Step | Test Element | Expected Results | Observed (Actual) Results | Pass/Fail | Deviation # | Attach # |
| --- | --- | --- | --- | --- | --- | --- |
| 4.3.1 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, enter uppercase and lowercase alpha characters in the field and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) states “none.” - The Properties dialog box closes. - There is no red outline around the field and there is no discrepancy for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.2 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, enter a number and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) states “none.” - The Properties dialog box closes. - There is no red outline around the field and there is no discrepancy for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.3 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, enter an integer with leading zeros and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) states “none.” - The Properties dialog box closes. - The leading zeros remain, there is no red outline around the field, and there is no discrepancy for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.4 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, enter a floating-point number and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) states “none.” - The Properties dialog box closes. - The input remains unchanged, there is no red outline around the field, and there is no discrepancy for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.5 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, enter symbols and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) states “none.” - The Properties dialog box closes. - There is no red outline around the field and there is no discrepancy for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.6 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, enter alpha characters, numbers, symbols, and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) states “none.” - The Properties dialog box closes. - There is no red outline around the field and there is no discrepancy for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.7 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “num.” - Click OK. - If step 2 is true, enter a floating-point number with a comma (,) as the radix symbol and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “num.” - The Properties dialog box closes. - The field converts the radix symbol to a decimal point. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.8 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “num.” - Click OK. - If step 2 is true, enter inputs for the following combinations and change the focus (attach a screenshot of each scenario): - Integer greater than 1000 with commas separating every thousands place (for example, “1,500”) - Floating-point number greater than 1000 with commas separating every thousands place and a period as the radix character (for example, “1,500.00”) - Floating-point number greater than 1000 with periods separating every thousands place and a comma as the radix character (for example, “1.500,00”) - Integer greater than 1000 with spaces separating every thousands place (for example, “1 500”) - Floating-point number greater than 1000 with spaces separating every thousands place with a comma as the radix character (for example, “1 500,00”) - Integer greater than 1000 with primes (`) separating every thousands place (for example, “1`500”) - Floating-point number greater than 1000 with primes (`) separating every thousands place (for example, “1`500,00”) | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “num.” - The Properties dialog box closes. - The field removes all characters for thousands places and while maintaining the radix character. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.9 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “num.” - Click OK. - If step 2 is true, enter a floating-point number with less decimal places than defined in the STP instructions and change the focus. Attach a screenshot. - If step 2 is true, enter a floating-point number with more decimal places than defined in the STP instructions and change the focus. Attach a screenshot. - If step 2 is true, enter a floating-point number with the same number of decimal places as defined in the STP instructions and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “num.” - The Properties dialog box closes. - The field adds enough zeros to the end of the number to match the number of decimal places in the instructions. - The field rounds the input to the same number of decimal places defined in the instructions. - The field keeps the input the same. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.10 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “num.” - Check the field name for validation rules. - Click OK. - If steps 2 and 3 are true, enter a number for the following scenarios as applicable for the validation requirements defined in the instructions and change the focus after each input. Attach a screenshot of each scenario. - Enter a number lower the minimum threshold. - Enter a number equal to the minimum threshold. - Enter a number between the minimum and maximum thresholds. - Enter a number at the maximum threshold. - Enter a number higher than the maximum threshold. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “num.” - The fifth item in the Name property is not “none.” - The Properties dialog box closes. - Depending on the validity determined by the defined instructions, the field is either not outlined and does not display any discrepancy notes in the discrepancy lists for valid inputs, or outlined in red and does display a message in the discrepancy list that the input is out of range. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.11 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “date.” - Click OK. - If step 2 is true, enter a date with the following format and change the focus: dd mmm yyyy. - If step 2 is true, enter a date in the following formats and change the focus (attach a screenshot of each scenario): - mmm dd, yyyy - mmmm dd, yyyy - dd mmmm yyyy - mm/dd/yyyy - mm/dd/yy - mm-dd-yyyy - mm-dd-yy - If step 2 is true, enter a date in the following format where the day is greater than 12 (attach a screenshot of each scenario): - dd/mm/yyyy - dd-mm-yyyy - ddmmyyyy - If step 2 is true, enter a date in the following format where the day is less than or equal to 12 (attach a screenshot of each scenario): - dd/mm/yyyy - dd-mm-yyyy | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “date.” - The Properties dialog box closes. - No change. - The field converts the input to the following format: dd mmm yyyy. - The field clears the input, outlines the field in red, and notes the field requires a valid date. - The field converts the input to the following format: dd mmm yyyy, but where dd = mm and mmm = the equivalent of dd. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.3.12 | - For each text field, right-click the field and select Properties. - Check the field name for a formatting of “date.” - Check the field name for a validation of a number. - Click OK. - If steps 2 and 3 are true, enter a date less than the number of days in the future defined in the validation from the service date and change the focus. Attach a screenshot. - If steps 2 and 3 are true, enter a date the same number of days in the future from the service date and change the focus. Attach a screenshot. - If steps 2 and 3 are true, enter a date more than the number of days in the future from the service date and change the focus. Attach a screenshot - If steps 2 and 3 are true, enter a date earlier than the service date and change the focus. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “date.” - The fifth item in the Name property is a number. - The Properties dialog box closes. - A message displays notifying the user that calibration is due soon, the field is not outlined, and there is no related discrepancy in the discrepancy list. - A message displays notifying the user that calibration is due soon, the field is not outlined, and there is no related discrepancy in the discrepancy list. - There is no outline around the field and there is no related discrepancy in the discrepancy list. - The field clears, the field has a red outline, and a discrepancy is listed for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |

## Checkbox Controls

| URS Step | Test Element | Expected Results | Observed (Actual) Results | Pass/Fail | Deviation # | Attach # |
| --- | --- | --- | --- | --- | --- | --- |
| 4.4.1 | - For each check box, right-click the field and select Properties. - Check the field name for a formatting of “none.” - Click OK. - If step 2 is true, select the check box. Attach a screenshot. - If step 2 is true, deselect the check box. Attach a screenshot. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “none.” - The Properties dialog box closes. - There is no outline around the field and there is no related discrepancy in the discrepancy list. - The field has a red outline and a discrepancy is listed for the field in the discrepancy list. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.4.2 | - For each check box, right-click the field and select Properties. - Check the field name for a formatting of “grp.” - Click OK. - If step 2 is true, select check boxes in the same section according to the following scenarios (attach a screenshot of each scenario): - Less than the minimum number of selections defined in the instructions. - The minimum number of selections defined in the instructions. - More than the minimum and less than the maximum number of selections defined in the instructions. - The maximum number of selections defined in the instructions. - More than the maximum number of selections defined in the instructions. | - The Properties dialog box opens. - The fourth item in the Name property (items separated by a comma) starts with “grp.” - The Properties dialog box closes. - Depending on the validity determined by the defined instructions, the field is either not outlined and does not display any discrepancy notes in the discrepancy lists for valid inputs, or outlined in red and does display a message in the discrepancy list that the input is out of range. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |

## Digital Signature Controls

| URS Step | Test Element | Expected Results | Observed (Actual) Results | Pass/Fail | Deviation # | Attach # |
| --- | --- | --- | --- | --- | --- | --- |
| 4.5.1 | - Click the digital signature field. - Click Cancel. Attach a screenshot. - Click the digital signature field. - Select a PKI certificate. - In the Password field, enter an incorrect password. - Click OK. Attach a screenshot. | - A certification dialog box opens. - The dialog box closes with no change to the eSTP. - A certification dialog box opens. - The certification has the correct identification displayed. - The password is entered. - The password is not accepted; no changes to the form. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.5.2 | - Click the digital signature field. - Select a PKI certificate. - In the Password field, enter a valid password. - Click OK. Attach a screenshot. | - A certification dialog box opens. - The certification has the correct identification displayed. - The password is entered. - The dialog box closes and all fields are read-only. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.5.3 | - Click the digital signature field. - Select a PKI certificate. - In the Password field, enter a valid password. - Click OK. - Save the file. - Close the file. - Open the file in Adobe Acrobat Standard. Attach a screenshot. | - A certification dialog box opens. - The certification has the correct identification displayed. - The password is entered. - The dialog box closes and all fields are read-only. - No change. - The file closes. - The file opens and a message in Acrobat notes the signature is valid. |  |  |  |  |

## Data Integrity

| URS Step | Test Element | Expected Results | Observed (Actual) Results | Pass/Fail | Deviation # | Attach # |
| --- | --- | --- | --- | --- | --- | --- |
| 4.6.1 | - Open the eSTP in Adobe Acrobat Standard. - In the Case or Service Request Number field, enter a string. - Close the eSTP. - Open the eSTP in Adobe Acrobat Standard. Attach a screenshot. | - The eSTP opens. - The string is visible in the Case or Service Request Number field. - The eSTP closes. - The eSTP opens and the Case or Service Request Number field is empty. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.6.2 | - In the Case or Service Request Number field, enter a string. - Click the Verify button. - For each field, select or input values. Attach a screenshot. - Save the file. - Close the file. - Open the file in Adobe Acrobat Standard. Attach a screenshot. | - The string is visible in the Case or Service Request Number field. - The Case or Service Request Number field is read-only. - The form has input to save. - The file is saved. - The file closes. - The file opens and all information from the saved file is retained. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.6.3 | - Click Tools. - Click Forms. - Click Edit. Attach a screenshot. | - The Tools sidebar opens. - The Forms pane opens. - The Edit feature is unavailable. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.6.4 | - Click Tools. - Click JavaScripts. - Click Document JavaScripts. Attach a screenshot. | - The Tools sidebar opens. - The JavaScripts pane opens. - The Document JavaScripts feature is unavailable. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |
| 4.6.5 | - Leave incomplete fields and the Notes field empty. - Click the Proceed to Signature button. Attach a screenshot. - Click OK. - Leave invalid fields and the Notes field empty. - Click the Proceed to Signature button. Attach a screenshot. - Click OK. - Enter a string of alphanumeric characters and symbols in the Notes field. - Click the Proceed to Signature button. Attach a screenshot. - Click OK. | - The incomplete fields are outlined in red and a discrepancy is noted in the discrepancy list. - The eSTP displays an error message. - The error message disappears. - The invalid fields are outlined in red and a discrepancy is noted in the discrepancy list. - The eSTP displays an error message. - The error message disappears. - All incomplete and invalid fields are no longer outlined in red and no discrepancies appear in the discrepancy list. - The eSTP provides additional instructions. - The digital signature field becomes editable. | Same as Expected Result: Yes No If ‘No’, explain below. | Pass Fail | Yes No #_______ | Yes No #_______ |

Note: It is recommended that the test protocol writer pre-determine which test steps require the recording of actual test results and/or attachments (e.g., screen captures, report printouts, etc.) as objective evidence of qualification testing. A good decision rule may be to require actual test results and/or attachments for important test steps which demonstrate key functionality of the system. Or, test steps where having documented input values used, or output generated by the system would be good for future reference.

  - The individual performing the testing, along with the date of testing must be recorded.  An independent review of the test results is required. The independent reviewer will examine the completed test data sheets to ensure all tests were executed, and the data recorded is accurate and complete. In lieu of requiring the reviewer to sign/date each data sheet, a reviewer can specify that all data sheets were reviewed for accuracy and completeness by the reviewer.

  - Reference to controlled procedures is recommended, where applicable. If an unreleased revised copy is used, the procedure (e.g. redline) must be included as an attachment to the validation.

# ACCEPTANCE REQUIREMENTS

  - Clearly state criteria used to judge if tests pass or fail.

(e.g., Actual Results match Expected Results. Refer to objective evidence, as applicable.)

  - Clearly state criteria for judging if testing meets the objectives/purpose of the protocol.

  - Reference to controlled procedures is recommended, where applicable. If an unreleased revised copy is used, the procedure (e.g. redline) must be included as an attachment.

# ATTACHMENTS

  - List all attachments such as methods or tables used as part of your qualification testing.  For controlled documents (e.g., SOPs), there is no need to attach them to the validation package unless modifications to the released version was required.

  - If the Test Protocol and the output generated from its execution will be considered ‘attachments’ to the Test Report, note it as such, and indicate the specific attachment configuration (e.g., Test Protocol and all output, where output points to a particular Step within the Test Protocol).

  - All attachments must have Attachment Number, Protocol Number, Protocol Revision, Initials, Date, and Page Number on each page.

  - As an alternative (to 8.3 above), the responsible tester can write the Test Protocol Number, Revision Number, Protocol Page Number, Step Number, Initials, and Date on the first sheet of a collated package as it pertains to an individual Step within the Test Protocol, and indicate the number of pages or list the page numbers covered by the Initials.  The Protocol Number and Page Number are still required on all successive pages (e.g., 2 to Last Page in attachment).